# Security

For emergencies – Contact University of Chicago Police (“123” or 2-8181)

For non-emergencies – Contact the Building Manager at 2-2978 or dwchuril@bsd.uchicago.edu. The Building Manager will coordinate a response between the UCMC Public Safety Office

(2-6262) and the facility.

For after hours emergency lock-outs call the UCMC Public Safety Office (2-6262). The response time to an emergency lock-out will depend on the availability of Public Safety staff to respond from the Medical Center.

# Fire Alarm & Protection

If you smell smoke or see a fire, contact the University of Chicago Police at 123.

Be prepared to give the building name (BSLC), building address ( 924 E. 57th Street ), room number and floor. Remember to close all doors behind you.

The BSLC has a fully functional fire alarm and sprinkler protection system. There are smoke detectors, heat detectors and sprinkler heads strategically placed through out the building. The fire alarm and sprinkler systems are backed up by an emergency/standby generator system.

The BSLC fire alarm system is a single stage system.  If any detector or pull station is activated, an alarm will sound throughout the building and all occupants are required to evacuate outdoors.

There are evacuation maps located at various locations throughout the building.  You should familiarize yourself with the emergency exit routes in your area.  Exit signs hanging from the ceiling will also direct you to the nearest exit.

# Building Evacuation

- Leave immediately, don’t run but move quickly.

- If there is a disabled person assist them to areas of refuge. They are located at the paths of egress at the stairwells. Notify emergency responders as soon as possible that there is a disabled person in need of assistance and where to find him/her.

- Follow instructions of emergency responders and instructions over the voice communication system.

- Use stairwells only, elevators are called to the first floor in emergency conditions.

- Check doors for heat before opening them. If you feel heat, seek an alternate route.

- Close all doors behind you.

- Exit the building when you reach the ground floor.

- Assemble in a safe area outside the building for employee verification

# Building Hours

The Southeast entry doors are open to the public 7:00am - 5:30pm (later during the Fall, Winter, and Spring academic quarters based on scheduled building activity) M - F excluding University holidays.  They are also open on some weekends based on scheduled building activity.  The Northeast entry door is locked 24/7 (as are the doors on each floor leading into the North research wing).

# Keys and Access Cards

Access Cards:	A valid University of Chicago ID badge is required for use on the BSLC electronic access system.  All eligible University employees and students who do not have a University ID badge can obtain one from the ID & Privileges office on the first floor of the Regenstein Library.

Each ID badge is automatically programmed to provide varying degrees of access based on the individual’s classification (student, staff, etc.). To extend an individual’s level of access, contact the building manager.  An e-mail from a faculty or administrator will be required to modify an individual’s level of access.

Temporary/Visitor badges can be obtained to gain access to the BSLC. These badges can be obtained by contacting Caitlyn Sarna at 2-2909 or csarna@bsd.uchicago.edu.

# Keys and Access Cards, cont’d

Keys:	The Building Manager’s office will maintain a master key schedule/log and have the sole authority to order keys within the building.  Individual keys will be given to department administrators and it will be their responsibility to issue keys, maintain departmental key logs, and collect keys from departing faculty, staff & students.

Requests for additional keys can be e-mailed to Don Churilla dwchuril@bsd.uchicago.edu.  Requests must come from the administrator maintaining the departmental key log and include an account number to cover the costs of the keys.

# Mail

Incoming:	Building Management will sort all incoming mail (US, Fac Ex, etc) (to department/section level) into first floor mailboxes.  Typically performed daily, but on rare occasions, high loads and/or staffing shortages may result in one day delays.  Departments can pick up mail out of boxes at their discretion. These mailboxes are located outside room 114 at the south end of the building.

Outgoing:	Drop boxes for US Mail, Faculty Exchange (Fac Ex), and Medical Center Mail room are also located in the main lobby.  US Mail is picked up daily by mail carrier (excluding federal holidays). Fac Ex is picked up daily by Fac Ex staff. Deliveries to the Medical Center Fac Ex Mail Box located in the SBRP lobby will be made twice weekly by bldg staff (except during staff shortages and high load weeks).  No other hand deliveries provided.

# Packages

Incoming:	Sorted and distributed to each lab by bldg staff.  On rare occasions, high loads and/or staffing shortages may result in one day delays (excluding perishable and overnight packages).

Outgoing:	UPS:	Delivery driver will typically take packages that have an appropriate UPS label or have been called in to UPS for pick-up.  Those packages may be left with bldg staff at loading dock.

FedEx:  Delivery driver will typically NOT take outgoing packages.  Those packages must be called in to FedEx and a “pick-up” driver will be dispatched.  Packages can be left at loading dock after they are called in.

# Packages, cont’d

There is also an outgoing UPS/FedEx drop off station on the first floor of the KCBD building near room 1221B.  BSLC occupants can use that drop off station.

Fisher & OfficeMax:  Delivery drivers will take return packages, but they must have the appropriate labels/authorization numbers.

Loading Dock Hours are 8:30am - 4:30pm (other times by request).

When coordinating delivery of large items, request that they be delivered on straight trucks instead of tractor trailers.

# Addresses to be Used

# Mail:		Individual Name

924 E. 57th Street

BSLC   Room #

Mailbox # (Assigned by Building Management)

Chicago, IL 60637

# Packages:	Individual Name*

924 E. 57th Street

BSLC   Room # (Very important, do not leave out!)

Lab Name (Very important, do not leave out!)

Chicago, IL 60637

Note:	North wing of “BSLC” is formally named Jules F. Knapp Medical Research Building.  We suggest not using that name in regards to directing visitors, shipping orders, maintenance calls, etc to avoid confusion with the Knapp center across the alley.

Also, the room numbers in the North wing of BSLC all start with an “R”.  It is very important to include the “R” in regards to directing visitors, shipping orders, maintenance calls, etc

# Housekeeping

Housekeeping in the BSLC is provided by a contracted cleaning service. If you have a comment, concern or would like to request additional services (e.g., extra carpet cleaning), please contact the Building Manager (2-2978 or dwchuril@bsd.uchicago.edu).

# Maintenance, Grounds, Snow Removal

Maintenance service, including grounds and snow removal, is provided by the UCMC Plant Department.  To report problems (leaks, lights, temperature problems, etc.) please call the order desk 2-6295.  The order desk is available 24/7.

Any maintenance work or modifications to the building (not department equipment) must be approved by the building manager and/or UCMC plant department. Such work may require department funding.

# Autoclaves and Glass Wash Equipment

Autoclaves are located in various locations on each floor of the building for department use. Departments/sections are responsible to provide consumable items (e.g., paper) that are part of the equipment’s operation.

Building Management will establish a preventive maintenance contract for the autoclaves and glass wash equipment in the building. If there are problems with the operation of the equipment, please contact the building manager at 2-2978 or dwchuril@bsd.uchicago.edu.

# Safety

The University Office of Environmental Health & Safety will provide safety related services to the BSLC.  For policy and services information, please refer to: http://safety.uchicago.edu.

# Radiation Safety

The University Office of Radiation Safety will provide radiation safety related services to the BSLC.  For Policy and services information, please refer to:

http://safety.uchicago.edu/radiation/home.html

# Biohazard Waste Disposal

Building Management will place biohazard tubs in the laboratories or lab support rooms on each floor.  Biohazard waste should be placed into red bags (or sharp containers) and then dropped into the Biohazard tubs.  Building management will collect on a regular schedule, or you can call to report a full tub.  Biohazard waste does not need to be autoclaved before being placed in the tubs.

Smaller bench side red bag holders are not provided by building management and must be ordered by the lab or department.

# Chemical Waste Disposal

Labs should contact the University Office of Environmental Health & Safety (2-9999) to arrange a pick-up by the University’s contracted chemical waste vendor.  Building Management will not pick up or dispose of chemicals.

# Compressed Gases, Liquid Nitrogen, Dry Ice

Gas tanks:	Compressed gas tanks will be moved to the lab or into the building’s tank storage room.  Storage space is very limited, so they should be used for emergency back-up tanks only.  Building Management will deliver back-up tanks to the labs upon request.  They will only drop off a tank if there is an approved tank holder to secure it.  They will also collect and transport empty tanks to the loading dock for pick-up.  It is the lab’s responsibility to connect and disconnect gas cylinders.  Indicator tags on tanks must indicate the tank is empty or their must be an attached note with directions to return a tank that still has gas in it.

Liquid Nitrogen:	Building Management will deliver liquid nitrogen dewars to the labs on the day they arrive (except during staff shortages and high load days).  They will also collect and transport empty dewars to the loading dock for pick-up.  It is the lab’s responsibility to connect and disconnect liquid nitrogen dewars.

Dry Ice:	Building Management will deliver dry ice to the labs on the day it arrives.  The dry ice will be deposited into the dry ice container the lab provides.

Liquid Nitrogen and compressed gasses can be ordered from the Physical

Sciences Division. Orders should be emailed to: orders@cylinder-gas.uchicago.edu

# Lecture Hall & Meeting Rooms

Schedule & Support:	Building Management is responsible for scheduling and supporting events in the BSLC lecture halls and meeting rooms.  To schedule rooms, contact Don Churilla @ dwchuril@bsd.uchicago.edu.

Fees:	A fee schedule is managed by building management for use of the rooms, equipment in them, and staffing support charges as needed.  Room & equipment fees will be waived for BSLC occupants.

Department Conference Rooms:	Departments are responsible for scheduling and equipping their own conference rooms.  For emergencies (burnt out projector, etc.) building management may be able to provide temporary equipment on a very short term basis.

# Telephone Services

The University Networking Services and Information Technologies (NSIT) department will provide telephone related services to the BSLC.  For Policy and services information, please refer to:

http://nsit.uchicago.edu/index.shtml

Consumer grade cordless phones (local base station with handset) can be used in the building, with DECT 6.0 phones being required.  Cordless phones that operate in the 2.4GHz and 5.8GHz WiFi bandwidths are being replaced by DECT 6.0 handsets that operate at the 1.9GHz bandwidth.  These phones are specifically designed to not interfere with the WiFi signals and to provide higher quality voice.  The use of cordless phones and other devices that use the WiFi bands will cause interference with wireless devices such as laptops and are prohibited.  DECT 6.0 phones are available at major resellers such as Best Buy.

# Information Services

UCMC Information Services (CBIS) provides information services for departments in the BSLC.  For Policy and services information, please refer to the Help Desk section of the Department Index under the Employee Tools tab of the UCMC intranet site:

http://home.uchospitals.edu/

The CBIS Help Desk can be contacted at 2-3456.

# Miscellaneous

Pets (other than ADA service animals) are not allowed in the building.

# Rollerblades may not be worn in the building.

Bike racks are provided on the east side of the building for use by occupants. Occupants may store bikes inside of the building as long as they do not block corridors and emergency egress paths. Bike storage within the building is not provided by Building Management.

| Building Management BSLC |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Office | Pager | Home | Cell |
| Don Churilla | Bldg Mgr/Room Scheduling/Keys | 702-2978 |  | 219-227-8591 | 219-680-9662 |
| Caitlyn Sarna | Back-up Bldg Mgr/Temp ID Cards | 702-2909 |  |  | 630-388-8096 |
| Luis Burgos | Shipping/Receiving | 702-1662 |  |  |  |
| Gerry Curtis | Facilities Zone Manager | 834-0056 |  |  |
| Ray Cullen | Facilities Dir. Plant Dept. | 702-9980 | 188-2217 (Campus Phone) |  |
| Judd Johnson | Facilities Dir. Operations | 702-8259 | 188-8495 (Campus phone) |  |
| Contact Ray, or Judd only for emergencies if other staff cannot be reached. |  |  |
| Medical Center Physical Plant Department | 702-6295 |  |  |  |
| Call to report maintenance issues. *Key requests should be directed to Bldg. Mgr. |  |  |
| Housekeeping |  | 702-2978 |  |  |  |
| Call Bldg Mgr to report issues or arrange additional cleaning. After hours emergencies only call: 708-259-4390 |  |  |  |  |
| Medical Center Security |  | 702-6262 |  |  |  |
| Call to report security issues within the building and for after hours lock-outs. |  |  |
| University Police Department |  |  |  |  |
| Call to report security issues outside the building or to report a security or other emergency situation. |  |
| Emergency |  | 123 (Campus phone) |  |  |
| Non-emergency |  | 702-8181 |  |  |  |
| University Office of Safety | 702-9999 |  |  |  |
| Call to report accidents, chemical spills, and other safety issues. |  |  |  |
| University Office of Radiation Safety | 702-6299 |  |  |  |
| Call to report accidents/issues involving radioactive material. |  |  |  |